## Sheet1
Model | Capacity | Pressure Range | HP/KW | Loaded AMP | LINK
ZT 90 VSD | 157-492 CFM | 60~150 psig | 125 HP/90 KW | 189 AMP | https://www.atlascopco.com/en-us/rental/products/air-rental/oil-free-air-compressors/electric-driven/zt-below-90kw-usa
ZT 160 VSD | 360–866 CFM | 58~150 psig | 215 HP/160 KW | 265 AMP | https://www.atlascopco.com/en-us/rental/products/air-rental/oil-free-air-compressors/electric-driven/zt-above-90kw